## PyPSA
Row Labels | Sum of Capacity_gas | Sum of Capacity_hydro_closedloop | Sum of Capacity_hydro_openloop | Sum of Capacity_hydro_reservoir | Sum of Capacity_hydro_runofriver | Sum of Capacity_nuclear | Sum of Capacity_oil | Sum of Capacity_otherRE
BE1 | 500.3
BE2 | 4835 | 1308 | 1308 |  | 49.7 | 2085
DE1 | 4936.038 |  |  |  | 14 |  | 157.1 | 140.1
DE2 | 4768.9 | [6 empty] | 77
DE3 | 537.22 | 120 | 120 |  |  |  |  | 17
DE4 | 14624.416 | 6173.2 | 6173.2 | 169.5 | 1782.06 |  | 683.3 | 624.4
DE5 | 345.3
DK1 | 1303.2
NL1 | 4041 |  |  |  |  | 485
NL2 | 1034
NL3 | 1342.1
NL4 | 2680
NO1 | 0 | 282.3 | 282.3 | 28507.9284
UK1 | 5243 |  |  |  |  | 1320
UK2 | 12518 | [6 empty] | 250
UK3 | 610 | 1088 | 440 | 128.8 | 734.6
UK4 | 12579.2224 | 2184 |  |  | 88.1 | 3260 |  | 143
(blank)
Grand Total | 71897.6964 | 11155.5 | 8323.5 | 28806.2284 | 2668.46 | 7150 | 840.4 | 1251.5

## PyPSA keys
Row Labels | Country | Sum of Capacity_gas | Sum of Capacity_hydro_closedloop | Sum of Capacity_hydro_openloop | Sum of Capacity_hydro_reservoir | Total hydro pumped | Sum of Capacity_hydro_runofriver | Sum of Capacity_nuclear | Sum of Capacity_oil | Sum of Capacity_otherRE
BE1 | BE | 500.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BE2 | BE | 4835 | 1308 | 1308 | 0 | 2616 | 49.7 | 2085 | 0 | 0
DE1 | DE | 4936.038 | 0 | 0 | 0 | 0 | 14 | 0 | 157.1 | 140.1
DE2 | DE | 4768.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77
DE3 | DE | 537.22 | 120 | 120 | 0 | 240 | 0 | 0 | 0 | 17
DE4 | DE | 14969.716 | 6173.2 | 6173.2 | 169.5 | 12515.9 | 1782.06 | 0 | 683.3 | 624.4
DK1 | DK | 1303.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL1 | NL | 4041 | 0 | 0 | 0 | 0 | 0 | 485 | 0 | 0
NL2 | NL | 1034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL3 | NL | 1342.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL4 | NL | 2680 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NO1 | NO | 0 | 282.3 | 282.3 | 28507.9284 | 29072.5284 | 0 | 0 | 0 | 0
UK1 | UK | 5243 | 0 | 0 | 0 | 0 | 0 | 1320 | 0 | 0
UK2 | UK | 12518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
UK3 | UK | 610 | 1088 | 440 | 128.8 | 1656.8 | 734.6 | 0 | 0 | 0
UK4 | UK | 12579.2224 | 2184 | 0 | 0 | 2184 | 88.1 | 3260 | 0 | 143
Row Labels |  | gas | hydro_closedloop | hydro_openloop | hydro_reservoir | Total hydro pumped | hydro_runofriver | nuclear | oil | otherRE
BE1 | BE | 0.093772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BE2 | BE | 0.90623 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0
DE1 | DE | 0.19578 | 0 | 0 | 0 | 0 | 0.0077948 | 0 | 0.18693 | 0.16319
DE2 | DE | 0.18915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.089691
DE3 | DE | 0.021308 | 0.019068 | 0.019068 | 0 | 0.018815 | 0 | 0 | 0 | 0.019802
DE4 | DE | 0.59376 | 0.98093 | 0.98093 | 1 | 0.98119 | 0.99221 | 0 | 0.81307 | 0.72732
DK1 | DK | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL1 | NL | 0.44421 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
NL2 | NL | 0.11366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL3 | NL | 0.14753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL4 | NL | 0.2946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NO1 | NO | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
UK1 | UK | 0.1694 | 0 | 0 | 0 | 0 | 0 | 0.28821 | 0 | 0
UK2 | UK | 0.40446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63613
UK3 | UK | 0.019709 | 0.33252 | 1 | 1 | 0.43137 | 0.89291 | 0 | 0 | 0
UK4 | UK | 0.40643 | 0.66748 | 0 | 0 | 0.56863 | 0.10709 | 0.71179 | 0 | 0.36387

## ERAA
Resource Capacities* (MW) - Accounts for derating ** | BE | DE | DK | NL | NO | UK
Nuclear | 2077 | 0 | 0 | 486 | 0 | 5195
Gas | 4612.1 | 29573.7201 | 859.0763 | 11551.5 | 0 | 33675.46
Oil | 158 | 849.65 | 556.1 | 0 | 0 | 782.82
Hydro - Run of River (Turbine) | 148.202 | 4368.4 | 0 | 37.7 | 0 | 2095.11
Hydro - Reservoir (Turbine) | 0 | 1297 | 0 | 0 | 0 | 6
Hydro - Pump Storage Open Loop (Turbine) | 0 | 1644.1 | 0 | 0 | 37829.865 | 0
Hydro - Pump Storage Closed Loop (Turbine) | 1305 | 7381.64 | 0 | 0 | 0 | 2744
Others renewable | 706.625 | 12034.29 | 7.26 | 609.6 | 0.003 | 10301.11
Others non-renewable | 1379 | 5874.9 | 0 | 4147 | 265 | 12.5621
Biofuel | 354.4 | 0 | 2337.7798 | 1580 | 0 | 18
Energy Storage (MWh)
Hydro - Pondage | 0 | 0 | 0 | 0 | 0 | 0
Hydro - Reservoir | 0 | 258578.022 | 0 | 0 | 0 | 0
Hydro - Pump Storage Open Loop | 0 | 416759 | 0 | 0 | 89577419.452 | 0
Hydro - Pump Storage Closed Loop | 5750 | 629879.789 | 0 | 0 | 0 | 26380
Batteries | 1920.28 | 6400.01 | 0 | 38650 | 0 | 10760.6965

## nonREinstalledNUTS2_v2
id | NUTS_ID | LEVL_CODE | CNTR_CODE | NAME_LATN | NUTS_NAME | MOUNT_TYPE | URBN_TYPE | COAST_TYPE | FID | AGGR_NODE | NODE_TYPE | area2 | Node_PyPSA | Capacity_gas | Capacity_hydro_closedloop | Capacity_hydro_openloop | Capacity_hydro_reservoir | Capacity_hydro_runofriver | Capacity_nuclear | Capacity_oil | Capacity_otherRE
2000-12-01 | 2000-12-01 | 2 | DE | Saarland | Saarland | 0 | 0 | 0 | 2000-12-01 | DE_C0 | Central | 2576125043.658 | DE4 | 205.11
BE10 | BE10 | 2 | BE | RÃ©gion de Bruxelles-Capitale/ Brussels Hoofdstedelijk Gewest | RÃ©gion de Bruxelles-Capitale/ Brussels Hoofdstedelijk Gewest | 0 | 0 | 0 | BE10 | BE_C0 | Central | 156979607.622 | BE2
BE21 | BE21 | 2 | BE | Prov. Antwerpen | Prov. Antwerpen | 0 | 0 | 0 | BE21 | BE_C0 | Central | 2870793348.593 | BE2 | 997.2
BE22 | BE22 | 2 | BE | Prov. Limburg (BE) | Prov. Limburg (BE) | 0 | 0 | 0 | BE22 | BE_C0 | Central | 2431119540.372 | BE2 | 465
BE23 | BE23 | 2 | BE | Prov. Oost-Vlaanderen | Prov. Oost-Vlaanderen | 0 | 0 | 0 | BE23 | BE_C0 | Central | 3013985517.035 | BE2 | 862.8 |  |  |  |  | 1039
BE24 | BE24 | 2 | BE | Prov. Vlaams-Brabant | Prov. Vlaams-Brabant | 0 | 0 | 0 | BE24 | BE_C0 | Central | 2122602323.601 | BE2 | 720
BE25 | BE25 | 2 | BE | Prov. West-Vlaanderen | Prov. West-Vlaanderen | 0 | 0 | 0 | BE25 | BE_L1 | Landing | 3166530764.554 | BE1 | 500.3
BE31 | BE31 | 2 | BE | Prov. Brabant Wallon | Prov. Brabant Wallon | 0 | 0 | 0 | BE31 | BE_C0 | Central | 1099997050.759 | BE2
BE32 | BE32 | 2 | BE | Prov. Hainaut | Prov. Hainaut | 0 | 0 | 0 | BE32 | BE_C0 | Central | 3814953301.155 | BE2 | 1214 | 144 | 144
BE33 | BE33 | 2 | BE | Prov. LiÃ¨ge | Prov. LiÃ¨ge | 0 | 0 | 0 | BE33 | BE_C0 | Central | 3853013586.769 | BE2 | 470 | 1164 | 1164 |  | 49.7 | 1046
BE34 | BE34 | 2 | BE | Prov. Luxembourg (BE) | Prov. Luxembourg (BE) | 0 | 0 | 0 | BE34 | BE_C0 | Central | 4463419174.593 | BE2
BE35 | BE35 | 2 | BE | Prov. Namur | Prov. Namur | 0 | 0 | 0 | BE35 | BE_C0 | Central | 3675959516.238 | BE2 | 106
DE11 | DE11 | 2 | DE | Stuttgart | Stuttgart | 0 | 0 | 0 | DE11 | DE_C0 | Central | 10557908534.826 | DE4 | 396.051 | [6 empty] | 178.9
DE12 | DE12 | 2 | DE | Karlsruhe | Karlsruhe | 0 | 0 | 0 | DE12 | DE_C0 | Central | 6926706700.198 | DE4 | 454 | 44 | 44 |  | 168 |  | 70 | 40
DE13 | DE13 | 2 | DE | Freiburg | Freiburg | 0 | 0 | 0 | DE13 | DE_C0 | Central | 9403351539.807 | DE4 | 135.6 | 1776.8 | 1776.8 |  | 124
DE14 | DE14 | 2 | DE | TÃ¼bingen | TÃ¼bingen | 0 | 0 | 0 | DE14 | DE_C0 | Central | 9139598246.023 | DE4 | 13.4 | 90 | 90 |  | 100
DE21 | DE21 | 2 | DE | Oberbayern | Oberbayern | 0 | 0 | 0 | DE21 | DE_C0 | Central | 17525285996.24 | DE4 | 3054.25 | 92 | 92 | 124 | 483.3
DE22 | DE22 | 2 | DE | Niederbayern | Niederbayern | 0 | 0 | 0 | DE22 | DE_C0 | Central | 10317552608.841 | DE4 | 192.5 |  |  |  | 353.6
DE23 | DE23 | 2 | DE | Oberpfalz | Oberpfalz | 0 | 0 | 0 | DE23 | DE_C0 | Central | 9690006337.504 | DE4 | 13.25 | 167.1 | 167.1 |  | 25
DE24 | DE24 | 2 | DE | Oberfranken | Oberfranken | 0 | 0 | 0 | DE24 | DE_C0 | Central | 7237854247.977 | DE4
DE25 | DE25 | 2 | DE | Mittelfranken | Mittelfranken | 0 | 0 | 0 | DE25 | DE_C0 | Central | 7251418056.199 | DE4 | 199.6 | 160 | 160 |  | 26.56
DE26 | DE26 | 2 | DE | Unterfranken | Unterfranken | 0 | 0 | 0 | DE26 | DE_C0 | Central | 8528171928.731 | DE4 | 373 | 164 | 164 |  | 59.7
DE27 | DE27 | 2 | DE | Schwaben | Schwaben | 0 | 0 | 0 | DE27 | DE_C0 | Central | 10030908230.175 | DE4 | 30.7 |  |  | 45.5 | 86.4
DE30 | DE30 | 2 | DE | Berlin | Berlin | 0 | 0 | 0 | DE30 | DE_C1 | Central | 892446934.19 | DE4 | 1010
DE40 | DE40 | 2 | DE | Brandenburg | Brandenburg | 0 | 0 | 0 | DE40 | DE_C1 | Central | 29645582243.755 | DE4 | 447.8 |  |  |  | 38.1 |  | 359 | 115.4
DE50 | DE50 | 2 | DE | Bremen | Bremen | 0 | 0 | 0 | DE50 | DE_L2 | Landing | 413860982.208 | DE2 | 640.8 | [6 empty] | 77
DE60 | DE60 | 2 | DE | Hamburg | Hamburg | 0 | 0 | 0 | DE60 | DE_L1 | Landing | 751954388.307 | DE3 | 127
DE71 | DE71 | 2 | DE | Darmstadt | Darmstadt | 0 | 0 | 0 | DE71 | DE_C0 | Central | 7438356569.35 | DE4 | 631.315 | [6 empty] | 83
DE72 | DE72 | 2 | DE | GieÃŸen | GieÃŸen | 0 | 0 | 0 | DE72 | DE_C1 | Central | 5384236729.907 | DE4
DE73 | DE73 | 2 | DE | Kassel | Kassel | 0 | 0 | 0 | DE73 | DE_C1 | Central | 8277728945.718 | DE4 | 199 | 480 | 480 |  | 19 |  | 24.8
DE80 | DE80 | 2 | DE | Mecklenburg-Vorpommern | Mecklenburg-Vorpommern | 0 | 0 | 0 | DE80 | DE_C1 | Central | 23204754864.013 | DE4 | 318.7 | [6 empty] | 17
DE91 | DE91 | 2 | DE | Braunschweig | Braunschweig | 0 | 0 | 0 | DE91 | DE_C1 | Central | 8122547967.024 | DE4 | 46.31 | 220 | 220 |  | 16.4
DE92 | DE92 | 2 | DE | Hannover | Hannover | 0 | 0 | 0 | DE92 | DE_C1 | Central | 9077946079.335 | DE4 | 260
DE93 | DE93 | 2 | DE | LÃ¼neburg | LÃ¼neburg | 0 | 0 | 0 | DE93 | DE_L1 | Landing | 15547121596.82 | DE3 | 200.72 | 120 | 120
DE94 | DE94 | 2 | DE | Weser-Ems | Weser-Ems | 0 | 0 | 0 | DE94 | DE_L2 | Landing | 14985560497.969 | DE2 | 4128.1
DEA1 | DEA1 | 2 | DE | DÃ¼sseldorf | DÃ¼sseldorf | 0 | 0 | 0 | DEA1 | DE_L3 | Landing | 5290815750.744 | DE1 | 1756.998 | [5 empty] | 60 | 61.5
DEA2 | DEA2 | 2 | DE | KÃ¶ln | KÃ¶ln | 0 | 0 | 0 | DEA2 | DE_L3 | Landing | 7359159696.538 | DE1 | 2821.8 |  |  |  | 14 |  | 97.1 | 51.4
DEA3 | DEA3 | 2 | DE | MÃ¼nster | MÃ¼nster | 0 | 0 | 0 | DEA3 | DE_L3 | Central | 6920854036.538 | DE1 | 357.24 | [6 empty] | 27.2
DEA4 | DEA4 | 2 | DE | Detmold | Detmold | 0 | 0 | 0 | DEA4 | DE_C1 | Central | 6515422808.114 | DE4 | 85.3
DEA5 | DEA5 | 2 | DE | Arnsberg | Arnsberg | 0 | 0 | 0 | DEA5 | DE_C1 | Central | 8027080178.957 | DE4 | 1357.5 | 440 | 440 |  | 75
DEB1 | DEB1 | 2 | DE | Koblenz | Koblenz | 0 | 0 | 0 | DEB1 | DE_C1 | Central | 8074998143.186 | DE4 | 47.2 |  |  |  | 68.8 |  |  | 12.5
DEB2 | DEB2 | 2 | DE | Trier | Trier | 0 | 0 | 0 | DEB2 | DE_C1 | Central | 4925888617.408 | DE4 |  |  |  |  | 106.9
DEB3 | DEB3 | 2 | DE | Rheinhessen-Pfalz | Rheinhessen-Pfalz | 0 | 0 | 0 | DEB3 | DE_C0 | Central | 6853688253.526 | DE4 | 2159 | [6 empty] | 15.6
DED2 | DED2 | 2 | DE | Dresden | Dresden | 0 | 0 | 0 | DED2 | DE_C1 | Central | 7943982559.271 | DE4 | 341.8 | 39.8 | 39.8
DED4 | DED4 | 2 | DE | Chemnitz | Chemnitz | 0 | 0 | 0 | DED4 | DE_C1 | Central | 6529475159.381 | DE4 | 45.23 | 960 | 960 |  | 31.3
DED5 | DED5 | 2 | DE | Leipzig | Leipzig | 0 | 0 | 0 | DED5 | DE_C1 | Central | 3975690200.747 | DE4 | 515.6 | [5 empty] | 17
DEE0 | DEE0 | 2 | DE | Sachsen-Anhalt | Sachsen-Anhalt | 0 | 0 | 0 | DEE0 | DE_C1 | Central | 20554254647.942 | DE4 | 909.4 | 79.7 | 79.7 |  |  |  | 212.5 | 149.9
DEF0 | DEF0 | 2 | DE | Schleswig-Holstein | Schleswig-Holstein | 0 | 0 | 0 | DEF0 | DE_L1 | Landing | 15669451010.955 | DE3 | 209.5 | [6 empty] | 17
DEG0 | DEG0 | 2 | DE | ThÃ¼ringen | ThÃ¼ringen | 0 | 0 | 0 | DEG0 | DE_C1 | Central | 16195307928.484 | DE4 | 1528.1 | 1459.8 | 1459.8 |  |  |  |  | 12.1
DK01 | DK01 | 2 | DK | Hovedstaden | Hovedstaden | 0 | 0 | 0 | DK01 | DK_C0 | Central | 2567900402.781 | DK1 | 861
DK02 | DK02 | 2 | DK | SjÃ¦lland | SjÃ¦lland | 0 | 0 | 0 | DK02 | DK_C0 | Central | 7308193494.199 | DK1
DK03 | DK03 | 2 | DK | Syddanmark | Syddanmark | 0 | 0 | 0 | DK03 | DK_L3 | Landing | 12123528847.561 | DK1 | 77
DK04 | DK04 | 2 | DK | Midtjylland | Midtjylland | 0 | 0 | 0 | DK04 | DK_L1 | Landing | 13551368768.309 | DK1 | 281.2
DK05 | DK05 | 2 | DK | Nordjylland | Nordjylland | 0 | 0 | 0 | DK05 | DK_L1 | Landing | 8102150839.262 | DK1 | 84
NL11 | NL11 | 2 | NL | Groningen | Groningen | 0 | 0 | 0 | NL11 | NL_L1 | Landing | 2411695571.612 | NL3 | 48
NL12 | NL12 | 2 | NL | Friesland (NL) | Friesland (NL) | 0 | 0 | 0 | NL12 | NL_L1 | Central | 3988043573.597 | NL3 | 144
NL13 | NL13 | 2 | NL | Drenthe | Drenthe | 0 | 0 | 0 | NL13 | NL_L1 | Central | 2676640574.429 | NL3 | 278
NL21 | NL21 | 2 | NL | Overijssel | Overijssel | 0 | 0 | 0 | NL21 | NL_C0 | Central | 3421944275.239 | NL4 | 60
NL22 | NL22 | 2 | NL | Gelderland | Gelderland | 0 | 0 | 0 | NL22 | NL_C0 | Central | 5147215320.538 | NL4 | 196
NL23 | NL23 | 2 | NL | Flevoland | Flevoland | 0 | 0 | 0 | NL23 | NL_C0 | Central | 2409387765.401 | NL3 | 872.1
NL31 | NL31 | 2 | NL | Utrecht | Utrecht | 0 | 0 | 0 | NL31 | NL_C0 | Central | 1451932912.757 | NL2 | 350
NL32 | NL32 | 2 | NL | Noord-Holland | Noord-Holland | 0 | 0 | 0 | NL32 | NL_L2 | Landing | 3409787662.005 | NL2 | 684
NL33 | NL33 | 2 | NL | Zuid-Holland | Zuid-Holland | 0 | 0 | 0 | NL33 | NL_L2 | Landing | 3244361979.033 | NL1 | 2648
NL34 | NL34 | 2 | NL | Zeeland | Zeeland | 0 | 0 | 0 | NL34 | NL_L3 | Landing | 1916967671.597 | NL1 | 1393 |  |  |  |  | 485
NL41 | NL41 | 2 | NL | Noord-Brabant | Noord-Brabant | 0 | 0 | 0 | NL41 | NL_C0 | Central | 5082400255.934 | NL4 | 911
NL42 | NL42 | 2 | NL | Limburg (NL) | Limburg (NL) | 0 | 0 | 0 | NL42 | NL_C0 | Central | 2214179069.594 | NL4 | 1513
NO02 | NO02 | 2 | NO | Innlandet | Innlandet | 0 | 0 | 0 | NO02 | NO_C0 | Central | 52078712142.403 | NO1 |  |  |  | 2198.81
NO06 | NO06 | 2 | NO | TrÃ¸ndelag | TrÃ¸ndelag | 0 | 0 | 0 | NO06 | NO_C0 | Central | 41539943806.243 | NO1 |  | 60.3 | 60.3 | 1496.04
NO07 | NO07 | 2 | NO | Nord-Norge | Nord-Norge | 0 | 0 | 0 | NO07 | NO_C0 | Central | 112212815362.959 | NO1 | 0 |  |  | 4450.767
NO08 | NO08 | 2 | NO | Oslo og Viken | Oslo og Viken | 0 | 0 | 0 | NO08 | NO_C0 | Central | 25015746094.1 | NO1 |  |  |  | 2195.075
NO09 | NO09 | 2 | NO | Agder og SÃ¸r-Ã˜stlandet | Agder og SÃ¸r-Ã˜stlandet | 0 | 0 | 0 | NO09 | NO_L2 | Landing | 33906278755.892 | NO1 |  |  |  | 5514.5925
NO0A | NO0A | 2 | NO | Vestlandet | Vestlandet | 0 | 0 | 0 | NO0A | NO_L1 | Landing | 57848873374.879 | NO1 |  | 222 | 222 | 12652.6439
NO0B | NO0B | 2 | NO | Jan Mayen and Svalbard | Jan Mayen and Svalbard |  | 0 | 0 | NO0B | NO_C0 | Central | 63347143651.456 | NO1
UKC1 | UKC1 | 2 | UK | Tees Valley and Durham | Tees Valley and Durham | 0 | 0 | 0 | UKC1 | UK_L2 | Landing | 3033883765.061 | UK2 | 50 | [6 empty] | 49
UKC2 | UKC2 | 2 | UK | Northumberland and Tyne and Wear | Northumberland and Tyne and Wear | 0 | 0 | 0 | UKC2 | UK_L2 | Landing | 5577557197.928 | UK2
UKD1 | UKD1 | 2 | UK | Cumbria | Cumbria | 0 | 0 | 0 | UKD1 | UK_L2 | Central | 6839831680.861 | UK2 | 409
UKD3 | UKD3 | 2 | UK | Greater Manchester | Greater Manchester | 0 | 0 | 0 | UKD3 | UK_L2 | Central | 1282063419.215 | UK2 | 1045 | [6 empty] | 30
UKD4 | UKD4 | 2 | UK | Lancashire | Lancashire | 0 | 0 | 0 | UKD4 | UK_L2 | Central | 3075929329.373 | UK2
UKD6 | UKD6 | 2 | UK | Cheshire | Cheshire | 0 | 0 | 0 | UKD6 | UK_L2 | Central | 2267721484.572 | UK2 | 213
UKD7 | UKD7 | 2 | UK | Merseyside | Merseyside | 0 | 0 | 0 | UKD7 | UK_L2 | Central | 721023135.063 | UK2 | 870 | [6 empty] | 91
UKE1 | UKE1 | 2 | UK | East Yorkshire and Northern Lincolnshire | East Yorkshire and Northern Lincolnshire | 0 | 0 | 0 | UKE1 | UK_L2 | Landing | 3533421892.596 | UK2 | 5434
UKE2 | UKE2 | 2 | UK | North Yorkshire | North Yorkshire | 0 | 0 | 0 | UKE2 | UK_L2 | Landing | 8319098071.31 | UK2 | 42
UKE3 | UKE3 | 2 | UK | South Yorkshire | South Yorkshire | 0 | 0 | 0 | UKE3 | UK_L2 | Central | 1553709609.254 | UK2 | 60
UKE4 | UKE4 | 2 | UK | West Yorkshire | West Yorkshire | 0 | 0 | 0 | UKE4 | UK_L2 | Central | 2033785284.022 | UK2 | 106 | [6 empty] | 80
UKF1 | UKF1 | 2 | UK | Derbyshire and Nottinghamshire | Derbyshire and Nottinghamshire | 0 | 0 | 0 | UKF1 | UK_L2 | Central | 4792931359.407 | UK2 | 2567
UKF2 | UKF2 | 2 | UK | Leicestershire, Rutland and Northamptonshire | Leicestershire, Rutland and Northamptonshire | 0 | 0 | 0 | UKF2 | UK_L2 | Central | 4932082868.256 | UK4 | 401
UKF3 | UKF3 | 2 | UK | Lincolnshire | Lincolnshire | 0 | 0 | 0 | UKF3 | UK_L2 | Landing | 5940546659.972 | UK2 | 1722
UKG1 | UKG1 | 2 | UK | Herefordshire, Worcestershire and Warwickshire | Herefordshire, Worcestershire and Warwickshire | 0 | 0 | 0 | UKG1 | UK_L2 | Central | 5892225937.393 | UK4
UKG2 | UKG2 | 2 | UK | Shropshire and Staffordshire | Shropshire and Staffordshire | 0 | 0 | 0 | UKG2 | UK_L2 | Central | 6216160732.89 | UK4
UKG3 | UKG3 | 2 | UK | West Midlands | West Midlands | 0 | 0 | 0 | UKG3 | UK_L2 | Central | 897165947.876 | UK4 | 100
UKH1 | UKH1 | 2 | UK | East Anglia | East Anglia | 0 | 0 | 0 | UKH1 | UK_L1 | Landing | 12590833097.021 | UK1 | 1400 |  |  |  |  | 1320
UKH2 | UKH2 | 2 | UK | Bedfordshire and Hertfordshire | Bedfordshire and Hertfordshire | 0 | 0 | 0 | UKH2 | UK_L1 | Central | 2874794264.632 | UK4 | 1455
UKH3 | UKH3 | 2 | UK | Essex | Essex | 0 | 0 | 0 | UKH3 | UK_L1 | Landing | 3663361830.913 | UK1 | 800
UKI3 | UKI3 | 2 | UK | Inner London â€” West | Inner London â€” West | 0 | 0 | 0 | UKI3 | UK_L1 | Landing | 107886046.984 | UK4
UKI4 | UKI4 | 2 | UK | Inner London â€” East | Inner London â€” East | 0 | 0 | 0 | UKI4 | UK_L1 | Landing | 216327215.118 | UK4
UKI5 | UKI5 | 2 | UK | Outer London â€” East and North East | Outer London â€” East and North East | 0 | 0 | 0 | UKI5 | UK_L1 | Landing | 435723183.46 | UK4 | 408 | [6 empty] | 80
UKI6 | UKI6 | 2 | UK | Outer London â€” South | Outer London â€” South | 0 | 0 | 0 | UKI6 | UK_L1 | Landing | 352393377.39 | UK4
UKI7 | UKI7 | 2 | UK | Outer London â€” West and North West | Outer London â€” West and North West | 0 | 0 | 0 | UKI7 | UK_L1 | Landing | 465428495.86 | UK4
UKJ1 | UKJ1 | 2 | UK | Berkshire, Buckinghamshire and Oxfordshire | Berkshire, Buckinghamshire and Oxfordshire | 0 | 0 | 0 | UKJ1 | UK_L1 | Central | 5749142812.532 | UK4 | 1540 | [6 empty] | 63
UKJ2 | UKJ2 | 2 | UK | Surrey, East and West Sussex | Surrey, East and West Sussex | 0 | 0 | 0 | UKJ2 | UK_L1 | Central | 5473680025.645 | UK4 | 420
UKJ3 | UKJ3 | 2 | UK | Hampshire and Isle of Wight | Hampshire and Isle of Wight | 0 | 0 | 0 | UKJ3 | UK_L1 | Central | 4160438846.119 | UK4 | 44
UKJ4 | UKJ4 | 2 | UK | Kent | Kent | 0 | 0 | 0 | UKJ4 | UK_L1 | Landing | 3740104856.699 | UK1 | 3043
UKK1 | UKK1 | 2 | UK | Gloucestershire, Wiltshire and Bristol/Bath area | Gloucestershire, Wiltshire and Bristol/Bath area | 0 | 0 | 0 | UKK1 | UK_L1 | Central | 7492343221.82 | UK4 | 1268.1
UKK2 | UKK2 | 2 | UK | Dorset and Somerset | Dorset and Somerset | 0 | 0 | 0 | UKK2 | UK_L1 | Central | 6130719903.676 | UK4 | 50 |  |  |  |  | 3260
UKK3 | UKK3 | 2 | UK | Cornwall and Isles of Scilly | Cornwall and Isles of Scilly | 0 | 0 | 0 | UKK3 | UK_L1 | Central | 3603792903.975 | UK4 | 140
UKK4 | UKK4 | 2 | UK | Devon | Devon | 0 | 0 | 0 | UKK4 | UK_L1 | Central | 6756775065.049 | UK4 | 955
UKL1 | UKL1 | 2 | UK | West Wales and The Valleys | West Wales and The Valleys | 0 | 0 | 0 | UKL1 | UK_L2 | Central | 13189600614.18 | UK4 | 2857 | 2184 |  |  | 88.1
UKL2 | UKL2 | 2 | UK | East Wales | East Wales | 0 | 0 | 0 | UKL2 | UK_L2 | Central | 7654030672.528 | UK4 | 2941.1224
UKM5 | UKM5 | 2 | UK | North Eastern Scotland | North Eastern Scotland | 0 | 0 | 0 | UKM5 | UK_L3 | Landing | 6507719871.548 | UK3
UKM6 | UKM6 | 2 | UK | Highlands and Islands | Highlands and Islands | 0 | 0 | 0 | UKM6 | UK_L3 | Central | 41018101635.831 | UK3 |  | 860 | 440 | 67.4 | 478.4
UKM7 | UKM7 | 2 | UK | Eastern Scotland | Eastern Scotland | 0 | 0 | 0 | UKM7 | UK_L3 | Landing | 13399607336.946 | UK3 | 144 | 75 |  | 61.4 | 149.2
UKM8 | UKM8 | 2 | UK | West Central Scotland | West Central Scotland | 0 | 0 | 0 | UKM8 | UK_L3 | Central | 1978788088.405 | UK3 |  | 153
UKM9 | UKM9 | 2 | UK | Southern Scotland | Southern Scotland | 0 | 0 | 0 | UKM9 | UK_L3 | Central | 15890962249.989 | UK3 |  |  |  |  | 107
UKN0 | UKN0 | 2 | UK | Northern Ireland | Northern Ireland | 0 | 0 | 0 | UKN0 | UK_L3 | Central | 14156427978.679 | UK3 | 466

## PyPSA vs. ERAA
Source | Type | BE | DE | DK | NL | NO | UK
ERAA | Biofuel | 354.4 | 0 | 2337.7798 | 1580 | 0 | 18
ERAA | Gas | 4612.1 | 29573.7201 | 859.0763 | 11551.5 | 0 | 33675.46
ERAA | Hydro - Pump Storage Closed Loop (Turbine) | 1305 | 7381.64 | 0 | 0 | 0 | 2744
ERAA | Hydro - Pump Storage Open Loop (Turbine) | 0 | 1644.1 | 0 | 0 | 37829.865 | 0 | s
ERAA | Hydro - Reservoir (Turbine) | 0 | 1297 | 0 | 0 | 0 | 6
ERAA | Hydro - Run of River (Turbine) | 148.202 | 4368.4 | 0 | 37.7 | 0 | 2095.11
ERAA | Nuclear | 2077 | 0 | 0 | 486 | 0 | 5195
ERAA | Oil | 158 | 849.65 | 556.1 | 0 | 0 | 782.82
ERAA | Others non-renewable | 1379 | 5874.9 | 0 | 4147 | 265 | 12.5621
ERAA | Others renewable | 706.625 | 12034.29 | 7.26 | 609.6 | 0.003 | 10301.11
PyPSA | Gas | 5335.3 | 25211.874 | 1303.2 | 9097.1 | 0 | 30950.2224
PyPSA | Hydro - Pump Storage Closed Loop (Turbine) | 1308 | 6293.2 |  |  | 282.3 | 3272
PyPSA | Hydro - Pump Storage Open Loop (Turbine) | 0 | 0 |  |  | 0 | 0
PyPSA | Hydro - Reservoir (Turbine) |  | 169.5 |  |  | 28507.9284 | 128.8
PyPSA | Hydro - Run of River (Turbine) | 49.7 | 1796.06 |  |  |  | 822.7
PyPSA | Nuclear | 2085 |  |  | 485 |  | 4580
PyPSA | Oil |  | 840.4
PyPSA | Others renewable |  | 858.5 |  |  |  | 393
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Allocate all as biomass
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is the Eemshaven plant
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Allocate sum to BE2
Note on D11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Allocate via biomass analagenregister
Note on F11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Other biomass
Note on H11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Allocate according to regional energy statistics

## Capacities at node
Node | Country | Gas | Nuclear | Hydro river | Hydro reservoir (cap) | Hydro open (cap) | Hydro closed (cap) | Biomass | Hydro reservoir (charge) | Hydro open (charge) | Hydro closed (charge)
BE1 | BE | 432.4843 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
BE2 | BE | 4179.6157 | 2077 | 148.202 | 0 | 0 | 5750 | 1061.025 | 0% | 0% | 22.7%
DE1 | DE | 5790.0101 | 0 | 34.051 | 0 | 0 | 0 | 948.7013 | 0% | 0% | 0%
DE2 | DE | 5593.956 | 0 | 0 | 0 | 0 | 0 | 1092.4603 | 0% | 0% | 0%
DE3 | DE | 630.1631 | 0 | 0 | 4865.0997 | 7841.2468 | 11851.0767 | 1731.6722 | 0.5016% | 0.3945% | 1.172%
DE4 | DE | 17559.5908 | 0 | 4334.349 | 253712.9223 | 408917.7532 | 618028.7123 | 8261.4562 | 0.5016% | 0.3945% | 1.172%
DK1 | DK | 859.0763 | 0 | 0 | 0 | 0 | 0 | 2337.7798 | 0% | 0% | 0%
NL1 | NL | 5131.2629 | 486 | 0 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0%
NL2 | NL | 1312.9735 | 0 | 0 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0%
NL3 | NL | 1704.1989 | 0 | 0 | 0 | 0 | 0 | 1732.4 | 0% | 0% | 0%
NL4 | NL | 3403.0647 | 0 | 37.7 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0%
NO1 | NO | 0 | 0 | 0 | 0 | 89577419.452 | 0 | 0 | 0% | 0.04223% | 0%
UK1 | UK | 5704.6581 | 1497.2489 | 0 | 0 | 0 | 0 | 749.8038 | 0% | 0% | 0%
UK2 | UK | 13620.2384 | 0 | 0 | 0 | 0 | 0 | 6570.7636 | 0% | 0% | 0%
UK3 | UK | 663.7119 | 0 | 1870.7522 | 0 | 0 | 11379.5001 | 735.7739 | 0% | 0% | 10.4%
UK4 | UK | 13686.8516 | 3697.7511 | 224.3578 | 0 | 0 | 15000.4999 | 2244.7686 | 0% | 0% | 10.4%

## Capacities at node 2
Node | Country | Gas | Nuclear | Coal | Hydro river | Hydro reservoir (cap) | Hydro open (cap) | Hydro closed (cap) | Biomass | Hydro reservoir (charge) | Hydro open (charge) | Hydro closed (charge) | max res demand (MWh)
BE1 | BE | 818.6828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 4060.6812
BE2 | BE | 5070.4118 | 0 | 8225.0081 | 148.202 | 0 | 0 | 5750 | 1061.025 | 0% | 0% | 22.7% | 10733.6982
DE1 | DE | 551.8447 | 0 | 296.8774 | 34.051 | 0 | 0 | 0 | 948.7013 | 0% | 0% | 0% | 24851.1913
DE2 | DE | 1324.112 | 0 | 0 | 0 | 0 | 0 | 0 | 1092.4603 | 0% | 0% | 0% | 3156.9238
DE3 | DE | 1206.5586 | 0 | 0 | 0 | 4865.0997 | 7841.2468 | 11851.0767 | 1731.6722 | 0.5016% | 0.3945% | 1.172% | 7207.9954
DE4 | DE | 3127.2505 | 0 | 0 | 4334.349 | 253712.9223 | 408917.7532 | 618028.7123 | 8261.4562 | 0.5016% | 0.3945% | 1.172% | 68005.8864
DK1 | DK | 3354.4573 | 9327.996 | 0 | 0 | 0 | 0 | 0 | 2337.7798 | 0% | 0% | 0% | 8956.8171
NL1 | NL | 390.2764 | 0 | 0 | 0 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0% | 9940.0286
NL2 | NL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0% | 5257.0553
NL3 | NL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.4 | 0% | 0% | 0% | 3060.5462
NL4 | NL | 0 | 0 | 0 | 37.7 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0% | 6073.6905
NO1 | NO | 0 | 0 | 0 | 0 | 0 | 89577419.452 | 0 | 0 | 0% | 0.04223% | 0% | 28665.5254
UK1 | UK | 354.4 | 0 | 8730.598 | 0 | 0 | 0 | 0 | 749.8038 | 0% | 0% | 0% | 3510.4266
UK2 | UK | 1228.023 | 0 | 257.424 | 0 | 0 | 0 | 0 | 6570.7636 | 0% | 0% | 0% | 14964.1634
UK3 | UK | 857.293 | 0 | 1066.688 | 1870.7522 | 0 | 0 | 11379.5001 | 735.7739 | 0% | 0% | 10.4% | 6681.756
UK4 | UK | 0 | 0 | 0 | 224.3578 | 0 | 0 | 15000.4999 | 2244.7686 | 0% | 0% | 10.4% | 33826.1038

## Capacities at node 3
Node | Country | Gas | Nuclear | Coal | Hydro river | Hydro reservoir (cap) | Hydro open (cap) | Hydro closed (cap) | Biomass | Hydro reservoir (charge) | Hydro open (charge) | Hydro closed (charge) | max res demand (MWh)
BE1 | BE | 4060.6812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 4060.6812
BE2 | BE | 10733.6982 | 0 | 8225.0081 | 148.202 | 0 | 0 | 5750 | 1061.025 | 0% | 0% | 22.7% | 10733.6982
DE1 | DE | 24851.1913 | 0 | 296.8774 | 34.051 | 0 | 0 | 0 | 948.7013 | 0% | 0% | 0% | 24851.1913
DE2 | DE | 3156.9238 | 0 | 0 | 0 | 0 | 0 | 0 | 1092.4603 | 0% | 0% | 0% | 3156.9238
DE3 | DE | 7207.9954 | 0 | 0 | 0 | 4865.0997 | 7841.2468 | 11851.0767 | 1731.6722 | 0.5016% | 0.3945% | 1.172% | 7207.9954
DE4 | DE | 68005.8864 | 0 | 0 | 4334.349 | 253712.9223 | 408917.7532 | 618028.7123 | 8261.4562 | 0.5016% | 0.3945% | 1.172% | 68005.8864
DK1 | DK | 8956.8171 | 9327.996 | 0 | 0 | 0 | 0 | 0 | 2337.7798 | 0% | 0% | 0% | 8956.8171
NL1 | NL | 9940.0286 | 0 | 0 | 0 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0% | 9940.0286
NL2 | NL | 5257.0553 | 0 | 0 | 0 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0% | 5257.0553
NL3 | NL | 3060.5462 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.4 | 0% | 0% | 0% | 3060.5462
NL4 | NL | 6073.6905 | 0 | 0 | 37.7 | 0 | 0 | 0 | 152.4 | 0% | 0% | 0% | 6073.6905
NO1 | NO | 28665.5254 | 0 | 0 | 0 | 0 | 89577419.452 | 0 | 0 | 0% | 0.04223% | 0% | 28665.5254
UK1 | UK | 3510.4266 | 0 | 8730.598 | 0 | 0 | 0 | 0 | 749.8038 | 0% | 0% | 0% | 3510.4266
UK2 | UK | 14964.1634 | 0 | 257.424 | 0 | 0 | 0 | 0 | 6570.7636 | 0% | 0% | 0% | 14964.1634
UK3 | UK | 6681.756 | 0 | 1066.688 | 1870.7522 | 0 | 0 | 11379.5001 | 735.7739 | 0% | 0% | 10.4% | 6681.756
UK4 | UK | 33826.1038 | 0 | 0 | 224.3578 | 0 | 0 | 15000.4999 | 2244.7686 | 0% | 0% | 10.4% | 33826.1038

## demand_statistics
| sum demand (TWh) | max demand (MWh) | min demand (MWh) | sum res demand (TWh) | max res demand (MWh) | min res demand (MWh)
BE1 | 25.1037 | 4323.656 | 1569.0983 | 21.7482 | 4060.6812 | 652.1095
BE2 | 76.2436 | 11865.6281 | 5891.4729 | 56.4842 | 10733.6982 | -1175.7144
DE1 | 129.5105 | 26961.1737 | 6387.2134 | 103.5171 | 24851.1913 | -2970.5587
DE2 | 22.3672 | 3936.7681 | 1599.3188 | -8.5015 | 3156.9238 | -11992.4256
DE3 | 43.3186 | 8638.8659 | 2397.8054 | -14.7644 | 7207.9954 | -22652.179
DE4 | 454.8762 | 81591.7556 | 31469.5371 | 157.1653 | 68005.8864 | -99123.4014
DK1 | 59.4306 | 10360.0218 | 4247.8515 | 5.1293 | 8956.8171 | -9051.6785
NL1 | 56.2354 | 10136.6765 | 3484.7606 | 44.8112 | 9940.0286 | -1898.19
NL2 | 31.3831 | 5365.0247 | 2175.2213 | 20.9648 | 5257.0553 | -3387.3965
NL3 | 23.1761 | 4014.4003 | 1565.0198 | -8.5088 | 3060.5462 | -11207.6429
NL4 | 43.1818 | 6185.2614 | 3937.8943 | 22.0178 | 6073.6905 | -11711.0122
NO1 | 172.0688 | 30508.978 | 11766.5717 | 142.9124 | 28665.5254 | 8081.577
UK1 | 21.4968 | 4084.4546 | 1098.5263 | 5.125 | 3510.4266 | -4190.3718
UK2 | 98.4421 | 18921.2732 | 4850.1667 | 28.7165 | 14964.1634 | -6381.9462
UK3 | 37.5792 | 7575.3353 | 1558.5816 | -1.5442 | 6681.756 | -13270.7043
UK4 | 175.6482 | 35925.2847 | 6854.6887 | 120.7703 | 33826.1038 | -4325.0843

## Biomass_DE
NUTS2 | Bruttoleistung | Node | Leistung MW | Row Labels | Sum of Leistung MW
DE11 | 255620.4 | DE4 | 255.6204 | DE1 | 661.0561
DE12 | 156494.32 | DE4 | 156.4943 | DE2 | 761.2275
DE13 | 180623.58 | DE4 | 180.6236 | DE3 | 1206.6311
DE14 | 325958.11 | DE4 | 325.9581 | DE4 | 5756.5916
DE21 | 446197 | DE4 | 446.197 | DE5 | 670.539
DE22 | 246354.55 | DE4 | 246.3545 | (blank)
DE23 | 247979.16 | DE4 | 247.9792 | Grand Total | 9056.0452
DE24 | 134310.7 | DE4 | 134.3107
DE25 | 302772.55 | DE4 | 302.7725
DE26 | 131164.52 | DE4 | 131.1645
DE27 | 398972.42 | DE4 | 398.9724
DE30 | 42773.6 | DE4 | 42.7736 | DE1 | 661.0561
DE40 | 504186.5 | DE4 | 504.1865 | DE2 | 761.2275
DE50 | 12559.7 | DE2 | 12.5597 | DE3 | 1206.6311
DE60 | 47752.7 | DE3 | 47.7527 | DE4 | 5756.5916
DE71 | 139008.1 | DE4 | 139.0081
DE72 | 52525.2 | DE4 | 52.5252
DE73 | 117689.4 | DE4 | 117.6894
DE80 | 417586.566 | DE4 | 417.5866
DE91 | 175774.04 | DE4 | 175.774
DE92 | 365587.249 | DE5 | 365.5872
DE93 | 565554.88 | DE3 | 565.5549
DE94 | 748667.8 | DE2 | 748.6678
DEA1 | 274598.8 | DE1 | 274.5988
DEA2 | 97941.9 | DE1 | 97.9419
DEA3 | 288515.4 | DE1 | 288.5154
DEA4 | 304951.75 | DE5 | 304.9518
DEA5 | 207876.56 | DE4 | 207.8766
DEB1 | 82151.45 | DE4 | 82.1514
DEB2 | 60038.7 | DE4 | 60.0387
DEB3 | 54404.34 | DE4 | 54.4043
DEC0 | 12197.9 | DE4 | 12.1979
DED2 | 102920.8 | DE4 | 102.9208
DED4 | 91640.15 | DE4 | 91.6401
DED5 | 118066 | DE4 | 118.066
DEE0 | 503294.15 | DE4 | 503.2942
DEF0 | 593323.5 | DE3 | 593.3235
DEG0 | 248010.8 | DE4 | 248.0108

## Biomass_UK
id | NUTS_ID | LEVL_CODE | CNTR_CODE | NAME_LATN | NUTS_NAME | MOUNT_TYPE | URBN_TYPE | COAST_TYPE | FID | AGGR_NODE | NODE_TYPE | area2 | Node_PyPSA | Installed Capacity (MWelec)_sum | Row Labels | Sum of Installed Capacity (MWelec)_sum
DE24 | DE24 | 2 | DE | Oberfranken | Oberfranken | 0 | 0 | 0 | DE24 | DE_C0 | Central | 7237854247.977 | DE4 |  | BE1
UKF3 | UKF3 | 2 | UK | Lincolnshire | Lincolnshire | 0 | 0 | 0 | UKF3 | UK_L2 | Landing | 5940546659.972 | UK2 | 96.7 | BE2
DE27 | DE27 | 2 | DE | Schwaben | Schwaben | 0 | 0 | 0 | DE27 | DE_C0 | Central | 10030908230.175 | DE4 |  | DE1
DE30 | DE30 | 2 | DE | Berlin | Berlin | 0 | 0 | 0 | DE30 | DE_C1 | Central | 892446934.19 | DE4 |  | DE2
DEG0 | DEG0 | 2 | DE | ThÃ¼ringen | ThÃ¼ringen | 0 | 0 | 0 | DEG0 | DE_C1 | Central | 16195307928.484 | DE4 |  | DE3
DK01 | DK01 | 2 | DK | Hovedstaden | Hovedstaden | 0 | 0 | 0 | DK01 | DK_C0 | Central | 2567900402.781 | DK1 |  | DE4
DK03 | DK03 | 2 | DK | Syddanmark | Syddanmark | 0 | 0 | 0 | DK03 | DK_L3 | Landing | 12123528847.561 | DK1 |  | DE5
BE10 | BE10 | 2 | BE | RÃ©gion de Bruxelles-Capitale/ Brussels Hoofdstedelijk Gewest | RÃ©gion de Bruxelles-Capitale/ Brussels Hoofdstedelijk Gewest | 0 | 0 | 0 | BE10 | BE_C0 | Central | 156979607.622 | BE2 |  | DK1
BE21 | BE21 | 2 | BE | Prov. Antwerpen | Prov. Antwerpen | 0 | 0 | 0 | BE21 | BE_C0 | Central | 2870793348.593 | BE2 |  | NL1
BE22 | BE22 | 2 | BE | Prov. Limburg (BE) | Prov. Limburg (BE) | 0 | 0 | 0 | BE22 | BE_C0 | Central | 2431119540.372 | BE2 |  | NL2
BE23 | BE23 | 2 | BE | Prov. Oost-Vlaanderen | Prov. Oost-Vlaanderen | 0 | 0 | 0 | BE23 | BE_C0 | Central | 3013985517.035 | BE2 |  | NL3
DE14 | DE14 | 2 | DE | TÃ¼bingen | TÃ¼bingen | 0 | 0 | 0 | DE14 | DE_C0 | Central | 9139598246.023 | DE4 |  | NL4
DK02 | DK02 | 2 | DK | SjÃ¦lland | SjÃ¦lland | 0 | 0 | 0 | DK02 | DK_C0 | Central | 7308193494.199 | DK1 |  | NO1
DE26 | DE26 | 2 | DE | Unterfranken | Unterfranken | 0 | 0 | 0 | DE26 | DE_C0 | Central | 8528171928.731 | DE4 |  | UK1 | 518.4
DEE0 | DEE0 | 2 | DE | Sachsen-Anhalt | Sachsen-Anhalt | 0 | 0 | 0 | DEE0 | DE_C1 | Central | 20554254647.942 | DE4 |  | UK2 | 4542.9
DEF0 | DEF0 | 2 | DE | Schleswig-Holstein | Schleswig-Holstein | 0 | 0 | 0 | DEF0 | DE_L1 | Landing | 15669451010.955 | DE3 |  | UK3 | 508.7
DE25 | DE25 | 2 | DE | Mittelfranken | Mittelfranken | 0 | 0 | 0 | DE25 | DE_C0 | Central | 7251418056.199 | DE4 |  | UK4 | 1551.99
UKE1 | UKE1 | 2 | UK | East Yorkshire and Northern Lincolnshire | East Yorkshire and Northern Lincolnshire | 0 | 0 | 0 | UKE1 | UK_L2 | Landing | 3533421892.596 | UK2 | 125.4 | (blank)
UKE2 | UKE2 | 2 | UK | North Yorkshire | North Yorkshire | 0 | 0 | 0 | UKE2 | UK_L2 | Landing | 8319098071.31 | UK2 | 2637.3 | Grand Total | 7121.99
UKE3 | UKE3 | 2 | UK | South Yorkshire | South Yorkshire | 0 | 0 | 0 | UKE3 | UK_L2 | Central | 1553709609.254 | UK2 | 136.5
UKE4 | UKE4 | 2 | UK | West Yorkshire | West Yorkshire | 0 | 0 | 0 | UKE4 | UK_L2 | Central | 2033785284.022 | UK2 | 236.6
UKF1 | UKF1 | 2 | UK | Derbyshire and Nottinghamshire | Derbyshire and Nottinghamshire | 0 | 0 | 0 | UKF1 | UK_L2 | Central | 4792931359.407 | UK2 | 76.1 | Row Labels | Sum of Installed Capacity (MWelec)_sum
UKF2 | UKF2 | 2 | UK | Leicestershire, Rutland and Northamptonshire | Leicestershire, Rutland and Northamptonshire | 0 | 0 | 0 | UKF2 | UK_L2 | Central | 4932082868.256 | UK4 | 80.5 | BE1
DEA1 | DEA1 | 2 | DE | DÃ¼sseldorf | DÃ¼sseldorf | 0 | 0 | 0 | DEA1 | DE_L3 | Landing | 5290815750.744 | DE1 |  | BE2
BE33 | BE33 | 2 | BE | Prov. LiÃ¨ge | Prov. LiÃ¨ge | 0 | 0 | 0 | BE33 | BE_C0 | Central | 3853013586.769 | BE2 |  | DE1
BE34 | BE34 | 2 | BE | Prov. Luxembourg (BE) | Prov. Luxembourg (BE) | 0 | 0 | 0 | BE34 | BE_C0 | Central | 4463419174.593 | BE2 |  | DE2
BE35 | BE35 | 2 | BE | Prov. Namur | Prov. Namur | 0 | 0 | 0 | BE35 | BE_C0 | Central | 3675959516.238 | BE2 |  | DE3
DEB1 | DEB1 | 2 | DE | Koblenz | Koblenz | 0 | 0 | 0 | DEB1 | DE_C1 | Central | 8074998143.186 | DE4 |  | DE4
DE80 | DE80 | 2 | DE | Mecklenburg-Vorpommern | Mecklenburg-Vorpommern | 0 | 0 | 0 | DE80 | DE_C1 | Central | 23204754864.013 | DE4 |  | DE5
NL23 | NL23 | 2 | NL | Flevoland | Flevoland | 0 | 0 | 0 | NL23 | NL_C0 | Central | 2409387765.401 | NL3 |  | DK1
NL31 | NL31 | 2 | NL | Utrecht | Utrecht | 0 | 0 | 0 | NL31 | NL_C0 | Central | 1451932912.757 | NL2 |  | NL1
NL32 | NL32 | 2 | NL | Noord-Holland | Noord-Holland | 0 | 0 | 0 | NL32 | NL_L2 | Landing | 3409787662.005 | NL2 |  | NL2
NL33 | NL33 | 2 | NL | Zuid-Holland | Zuid-Holland | 0 | 0 | 0 | NL33 | NL_L2 | Landing | 3244361979.033 | NL1 |  | NL3
NL34 | NL34 | 2 | NL | Zeeland | Zeeland | 0 | 0 | 0 | NL34 | NL_L3 | Landing | 1916967671.597 | NL1 |  | NL4
NL41 | NL41 | 2 | NL | Noord-Brabant | Noord-Brabant | 0 | 0 | 0 | NL41 | NL_C0 | Central | 5082400255.934 | NL4 |  | NO1
DE73 | DE73 | 2 | DE | Kassel | Kassel | 0 | 0 | 0 | DE73 | DE_C1 | Central | 8277728945.718 | DE4 |  | UK1 | 518.4
NL22 | NL22 | 2 | NL | Gelderland | Gelderland | 0 | 0 | 0 | NL22 | NL_C0 | Central | 5147215320.538 | NL4 |  | UK2 | 4542.9
DE91 | DE91 | 2 | DE | Braunschweig | Braunschweig | 0 | 0 | 0 | DE91 | DE_C1 | Central | 8122547967.024 | DE4 |  | UK3 | 508.7
DK05 | DK05 | 2 | DK | Nordjylland | Nordjylland | 0 | 0 | 0 | DK05 | DK_L1 | Landing | 8102150839.262 | DK1 |  | UK4 | 1551.99
NL42 | NL42 | 2 | NL | Limburg (NL) | Limburg (NL) | 0 | 0 | 0 | NL42 | NL_C0 | Central | 2214179069.594 | NL4
DEB2 | DEB2 | 2 | DE | Trier | Trier | 0 | 0 | 0 | DEB2 | DE_C1 | Central | 4925888617.408 | DE4
DEB3 | DEB3 | 2 | DE | Rheinhessen-Pfalz | Rheinhessen-Pfalz | 0 | 0 | 0 | DEB3 | DE_C0 | Central | 6853688253.526 | DE4
2000-12-01 | DEC0 | 2 | DE | Saarland | Saarland | 0 | 0 | 0 | 2000-12-01 | DE_C0 | Central | 2576125043.658 | DE4
DED2 | DED2 | 2 | DE | Dresden | Dresden | 0 | 0 | 0 | DED2 | DE_C1 | Central | 7943982559.271 | DE4
DED4 | DED4 | 2 | DE | Chemnitz | Chemnitz | 0 | 0 | 0 | DED4 | DE_C1 | Central | 6529475159.381 | DE4
DEA2 | DEA2 | 2 | DE | KÃ¶ln | KÃ¶ln | 0 | 0 | 0 | DEA2 | DE_L3 | Landing | 7359159696.538 | DE1
DEA3 | DEA3 | 2 | DE | MÃ¼nster | MÃ¼nster | 0 | 0 | 0 | DEA3 | DE_L3 | Central | 6920854036.538 | DE1
DEA4 | DEA4 | 2 | DE | Detmold | Detmold | 0 | 0 | 0 | DEA4 | DE_C1 | Central | 6515422808.114 | DE5
DEA5 | DEA5 | 2 | DE | Arnsberg | Arnsberg | 0 | 0 | 0 | DEA5 | DE_C1 | Central | 8027080178.957 | DE4
DE60 | DE60 | 2 | DE | Hamburg | Hamburg | 0 | 0 | 0 | DE60 | DE_L1 | Landing | 751954388.307 | DE3
DE40 | DE40 | 2 | DE | Brandenburg | Brandenburg | 0 | 0 | 0 | DE40 | DE_C1 | Central | 29645582243.755 | DE4
DE50 | DE50 | 2 | DE | Bremen | Bremen | 0 | 0 | 0 | DE50 | DE_L2 | Landing | 413860982.208 | DE2
DE11 | DE11 | 2 | DE | Stuttgart | Stuttgart | 0 | 0 | 0 | DE11 | DE_C0 | Central | 10557908534.826 | DE4
NL11 | NL11 | 2 | NL | Groningen | Groningen | 0 | 0 | 0 | NL11 | NL_L1 | Landing | 2411695571.612 | NL3
NL12 | NL12 | 2 | NL | Friesland (NL) | Friesland (NL) | 0 | 0 | 0 | NL12 | NL_L1 | Central | 3988043573.597 | NL3
NL13 | NL13 | 2 | NL | Drenthe | Drenthe | 0 | 0 | 0 | NL13 | NL_L1 | Central | 2676640574.429 | NL3
NL21 | NL21 | 2 | NL | Overijssel | Overijssel | 0 | 0 | 0 | NL21 | NL_C0 | Central | 3421944275.239 | NL4
DE71 | DE71 | 2 | DE | Darmstadt | Darmstadt | 0 | 0 | 0 | DE71 | DE_C0 | Central | 7438356569.35 | DE4
DE72 | DE72 | 2 | DE | GieÃŸen | GieÃŸen | 0 | 0 | 0 | DE72 | DE_C1 | Central | 5384236729.907 | DE4
DE92 | DE92 | 2 | DE | Hannover | Hannover | 0 | 0 | 0 | DE92 | DE_C1 | Central | 9077946079.335 | DE5
DE93 | DE93 | 2 | DE | LÃ¼neburg | LÃ¼neburg | 0 | 0 | 0 | DE93 | DE_L1 | Landing | 15547121596.82 | DE3
BE25 | BE25 | 2 | BE | Prov. West-Vlaanderen | Prov. West-Vlaanderen | 0 | 0 | 0 | BE25 | BE_L1 | Landing | 3166530764.554 | BE1
BE31 | BE31 | 2 | BE | Prov. Brabant Wallon | Prov. Brabant Wallon | 0 | 0 | 0 | BE31 | BE_C0 | Central | 1099997050.759 | BE2
DE94 | DE94 | 2 | DE | Weser-Ems | Weser-Ems | 0 | 0 | 0 | DE94 | DE_L2 | Landing | 14985560497.969 | DE2
DE21 | DE21 | 2 | DE | Oberbayern | Oberbayern | 0 | 0 | 0 | DE21 | DE_C0 | Central | 17525285996.24 | DE4
DE22 | DE22 | 2 | DE | Niederbayern | Niederbayern | 0 | 0 | 0 | DE22 | DE_C0 | Central | 10317552608.841 | DE4
DE23 | DE23 | 2 | DE | Oberpfalz | Oberpfalz | 0 | 0 | 0 | DE23 | DE_C0 | Central | 9690006337.504 | DE4
DED5 | DED5 | 2 | DE | Leipzig | Leipzig | 0 | 0 | 0 | DED5 | DE_C1 | Central | 3975690200.747 | DE4
BE24 | BE24 | 2 | BE | Prov. Vlaams-Brabant | Prov. Vlaams-Brabant | 0 | 0 | 0 | BE24 | BE_C0 | Central | 2122602323.601 | BE2
DK04 | DK04 | 2 | DK | Midtjylland | Midtjylland | 0 | 0 | 0 | DK04 | DK_L1 | Landing | 13551368768.309 | DK1
BE32 | BE32 | 2 | BE | Prov. Hainaut | Prov. Hainaut | 0 | 0 | 0 | BE32 | BE_C0 | Central | 3814953301.155 | BE2
DE12 | DE12 | 2 | DE | Karlsruhe | Karlsruhe | 0 | 0 | 0 | DE12 | DE_C0 | Central | 6926706700.198 | DE4
DE13 | DE13 | 2 | DE | Freiburg | Freiburg | 0 | 0 | 0 | DE13 | DE_C0 | Central | 9403351539.807 | DE4
UKM7 | UKM7 | 2 | UK | Eastern Scotland | Eastern Scotland | 0 | 0 | 0 | UKM7 | UK_L3 | Landing | 13399607336.946 | UK3 | 229.1
UKM8 | UKM8 | 2 | UK | West Central Scotland | West Central Scotland | 0 | 0 | 0 | UKM8 | UK_L3 | Central | 1978788088.405 | UK3 | 57.1
UKM9 | UKM9 | 2 | UK | Southern Scotland | Southern Scotland | 0 | 0 | 0 | UKM9 | UK_L3 | Central | 15890962249.989 | UK3 | 113.1
UKN0 | UKN0 | 2 | UK | Northern Ireland | Northern Ireland | 0 | 0 | 0 | UKN0 | UK_L3 | Central | 14156427978.679 | UK3 | 52.1
UKD4 | UKD4 | 2 | UK | Lancashire | Lancashire | 0 | 0 | 0 | UKD4 | UK_L2 | Central | 3075929329.373 | UK2 | 52.7
UKC1 | UKC1 | 2 | UK | Tees Valley and Durham | Tees Valley and Durham | 0 | 0 | 0 | UKC1 | UK_L2 | Landing | 3033883765.061 | UK2 | 254.2
UKC2 | UKC2 | 2 | UK | Northumberland and Tyne and Wear | Northumberland and Tyne and Wear | 0 | 0 | 0 | UKC2 | UK_L2 | Landing | 5577557197.928 | UK2 | 476.3
UKD1 | UKD1 | 2 | UK | Cumbria | Cumbria | 0 | 0 | 0 | UKD1 | UK_L2 | Central | 6839831680.861 | UK2 | 61.9
UKD3 | UKD3 | 2 | UK | Greater Manchester | Greater Manchester | 0 | 0 | 0 | UKD3 | UK_L2 | Central | 1282063419.215 | UK2 | 109.3
UKD6 | UKD6 | 2 | UK | Cheshire | Cheshire | 0 | 0 | 0 | UKD6 | UK_L2 | Central | 2267721484.572 | UK2 | 143.6
UKD7 | UKD7 | 2 | UK | Merseyside | Merseyside | 0 | 0 | 0 | UKD7 | UK_L2 | Central | 721023135.063 | UK2 | 136.3
UKK3 | UKK3 | 2 | UK | Cornwall and Isles of Scilly | Cornwall and Isles of Scilly | 0 | 0 | 0 | UKK3 | UK_L1 | Central | 3603792903.975 | UK4 | 32.2
UKI5 | UKI5 | 2 | UK | Outer London â€” East and North East | Outer London â€” East and North East | 0 | 0 | 0 | UKI5 | UK_L1 | Landing | 435723183.46 | UK4 | 163.4
UKK4 | UKK4 | 2 | UK | Devon | Devon | 0 | 0 | 0 | UKK4 | UK_L1 | Central | 6756775065.049 | UK4 | 54.1
UKL1 | UKL1 | 2 | UK | West Wales and The Valleys | West Wales and The Valleys | 0 | 0 | 0 | UKL1 | UK_L2 | Central | 13189600614.18 | UK4 | 95.3
UKI6 | UKI6 | 2 | UK | Outer London â€” South | Outer London â€” South | 0 | 0 | 0 | UKI6 | UK_L1 | Landing | 352393377.39 | UK4 | 26
UKI7 | UKI7 | 2 | UK | Outer London â€” West and North West | Outer London â€” West and North West | 0 | 0 | 0 | UKI7 | UK_L1 | Landing | 465428495.86 | UK4 | 7.6
UKJ1 | UKJ1 | 2 | UK | Berkshire, Buckinghamshire and Oxfordshire | Berkshire, Buckinghamshire and Oxfordshire | 0 | 0 | 0 | UKJ1 | UK_L1 | Central | 5749142812.532 | UK4 | 232.4
UKJ2 | UKJ2 | 2 | UK | Surrey, East and West Sussex | Surrey, East and West Sussex | 0 | 0 | 0 | UKJ2 | UK_L1 | Central | 5473680025.645 | UK4 | 72.6
UKJ3 | UKJ3 | 2 | UK | Hampshire and Isle of Wight | Hampshire and Isle of Wight | 0 | 0 | 0 | UKJ3 | UK_L1 | Central | 4160438846.119 | UK4 | 69.1
UKJ4 | UKJ4 | 2 | UK | Kent | Kent | 0 | 0 | 0 | UKJ4 | UK_L1 | Landing | 3740104856.699 | UK1 | 163.8
UKK1 | UKK1 | 2 | UK | Gloucestershire, Wiltshire and Bristol/Bath area | Gloucestershire, Wiltshire and Bristol/Bath area | 0 | 0 | 0 | UKK1 | UK_L1 | Central | 7492343221.82 | UK4 | 123.4
UKL2 | UKL2 | 2 | UK | East Wales | East Wales | 0 | 0 | 0 | UKL2 | UK_L2 | Central | 7654030672.528 | UK4 | 91.89
UKM5 | UKM5 | 2 | UK | North Eastern Scotland | North Eastern Scotland | 0 | 0 | 0 | UKM5 | UK_L3 | Landing | 6507719871.548 | UK3 | 24.5
UKM6 | UKM6 | 2 | UK | Highlands and Islands | Highlands and Islands | 0 | 0 | 0 | UKM6 | UK_L3 | Central | 41018101635.831 | UK3 | 32.8
UKG1 | UKG1 | 2 | UK | Herefordshire, Worcestershire and Warwickshire | Herefordshire, Worcestershire and Warwickshire | 0 | 0 | 0 | UKG1 | UK_L2 | Central | 5892225937.393 | UK4 | 56.3
UKG2 | UKG2 | 2 | UK | Shropshire and Staffordshire | Shropshire and Staffordshire | 0 | 0 | 0 | UKG2 | UK_L2 | Central | 6216160732.89 | UK4 | 72
UKG3 | UKG3 | 2 | UK | West Midlands | West Midlands | 0 | 0 | 0 | UKG3 | UK_L2 | Central | 897165947.876 | UK4 | 103.8
UKH1 | UKH1 | 2 | UK | East Anglia | East Anglia | 0 | 0 | 0 | UKH1 | UK_L1 | Landing | 12590833097.021 | UK1 | 237
UKH2 | UKH2 | 2 | UK | Bedfordshire and Hertfordshire | Bedfordshire and Hertfordshire | 0 | 0 | 0 | UKH2 | UK_L1 | Central | 2874794264.632 | UK4 | 148.4
UKH3 | UKH3 | 2 | UK | Essex | Essex | 0 | 0 | 0 | UKH3 | UK_L1 | Landing | 3663361830.913 | UK1 | 117.6
UKI3 | UKI3 | 2 | UK | Inner London â€” West | Inner London â€” West | 0 | 0 | 0 | UKI3 | UK_L1 | Landing | 107886046.984 | UK4
UKI4 | UKI4 | 2 | UK | Inner London â€” East | Inner London â€” East | 0 | 0 | 0 | UKI4 | UK_L1 | Landing | 216327215.118 | UK4 | 70.8
UKK2 | UKK2 | 2 | UK | Dorset and Somerset | Dorset and Somerset | 0 | 0 | 0 | UKK2 | UK_L1 | Central | 6130719903.676 | UK4 | 52.2
NO0B | NO0B | 2 | NO | Jan Mayen and Svalbard | Jan Mayen and Svalbard |  | 0 | 0 | NO0B | NO_C0 | Central | 63347143651.456 | NO1
NO0A | NO0A | 2 | NO | Vestlandet | Vestlandet | 0 | 0 | 0 | NO0A | NO_L1 | Landing | 57848873374.879 | NO1
NO09 | NO09 | 2 | NO | Agder og SÃ¸r-Ã˜stlandet | Agder og SÃ¸r-Ã˜stlandet | 0 | 0 | 0 | NO09 | NO_L2 | Landing | 33906278755.892 | NO1
NO02 | NO02 | 2 | NO | Innlandet | Innlandet | 0 | 0 | 0 | NO02 | NO_C0 | Central | 52078712142.403 | NO1
NO06 | NO06 | 2 | NO | TrÃ¸ndelag | TrÃ¸ndelag | 0 | 0 | 0 | NO06 | NO_C0 | Central | 41539943806.243 | NO1
NO07 | NO07 | 2 | NO | Nord-Norge | Nord-Norge | 0 | 0 | 0 | NO07 | NO_C0 | Central | 112212815362.959 | NO1
NO08 | NO08 | 2 | NO | Oslo og Viken | Oslo og Viken | 0 | 0 | 0 | NO08 | NO_C0 | Central | 25015746094.1 | NO1

## Comparison_old_new
| Country | Gas | Nuclear | Coal & Lignite | Gas old | Nuclear old | [12 empty] | Gas | Coal & Lignite | Nuclear
BE1 | BE | 818.6828 | 0 | 0 | 432.4843 | 0 | [5 empty] | x | x |  |  |  |  | BE1 | 818.6828 | 0 | 0
BE2 | BE | 7911.9152 | 2077 | 0 | 4179.6157 | 2077 |  |  |  |  | Row Labels | Sum of Gas | Sum of Nuclear | Sum of Coal & Lignite | Sum of Gas old | Sum of Nuclear old |  | BE2 | 7911.9152 | 0 | 2077
DE1 | DE | 5070.4118 | 0 | 8225.0081 | 5790.0101 | 0 |  |  |  |  | BE | 8730.598 | 2077 | 0 | 4612.1 | 2077 | x | DE1 | 5070.4118 | 8225.0081 | 0
DE2 | DE | 4898.7238 | 0 | 476.8031 | 5593.956 | 0 |  |  |  |  | DE | 25898.217 | 0 | 17041.903 | 29573.7201 | 0 | x | DE2 | 4898.7238 | 476.8031 | 0
DE3 | DE | 551.8447 | 0 | 296.8774 | 630.1631 | 0 |  |  |  |  | DK | 1324.112 | 0 | 0 | 859.0763 | 0 |  | DE3 | 551.8447 | 296.8774 | 0
DE4 | DE | 15377.2367 | 0 | 8043.2144 | 17559.5908 | 0 |  |  |  |  | NL | 10615.265 | 486 | 0 | 11551.5 | 486 | x | DE4 | 15377.2367 | 8043.2144 | 0
DK1 | DK | 1324.112 | 0 | 0 | 859.0763 | 0 |  |  |  |  | NO | 0 | 0 | 0 | 0 | 0 | x | DK1 | 1324.112 | 0 | 0
NL1 | NL | 4715.3803 | 486 | 0 | 5131.2629 | 486 |  |  |  |  | UK | 19801.869 | 9327.996 | 0 | 33675.46 | 5195 |  | NL1 | 4715.3803 | 0 | 486
NL2 | NL | 1206.5586 | 0 | 0 | 1312.9735 | 0 |  |  |  |  | Grand Total | 66370.061 | 11890.996 | 17041.903 | 80271.8564 | 7758 |  | NL2 | 1206.5586 | 0 | 0
NL3 | NL | 1566.0757 | 0 | 0 | 1704.1989 | 0 | [11 empty] | NL3 | 1566.0757 | 0 | 0
NL4 | NL | 3127.2505 | 0 | 0 | 3403.0647 | 0 |  |  |  |  | Row Labels | Sum of Gas | Sum of Nuclear | Sum of Coal & Lignite |  |  |  | NL4 | 3127.2505 | 0 | 0
NO1 | NO | 0 | 0 | 0 | 0 | 0 |  |  |  |  | BE | 8730.598 | 0 | 0 |  |  |  | NO1 | 0 | 0 | 0
UK1 | UK | 3354.4573 | 9327.996 | 0 | 5704.6581 | 1497.2489 |  |  |  |  | DE | 25898.217 | 0 | 17041.903 |  |  |  | UK1 | 3354.4573 | 0 | 9327.996
UK2 | UK | 8008.9827 | 0 | 0 | 13620.2384 | 0 |  |  |  |  | DK | 1324.112 | 0 | 0 |  |  |  | UK2 | 8008.9827 | 0 | 0
UK3 | UK | 390.2764 | 0 | 0 | 663.7119 | 0 |  |  |  |  | NL | 10615.265 | 486 | 0 |  |  |  | UK3 | 390.2764 | 0 | 0
UK4 | UK | 8048.1527 | 0 | 0 | 13686.8516 | 3697.7511 |  |  |  |  | NO | 0 | 0 | 0 |  |  |  | UK4 | 8048.1527 | 0 | 0
[11 empty] | UK | 19801.869 | 9327.996 | 3391.998
[11 empty] | Grand Total | 66370.061 | 9813.996 | 20433.901
Row Labels | Country | Biofuels | Coal & Lignite | Gas | Hydro | Nuclear | Oil | Other Non RES | Other RES | Solar | Wind Offshore | Wind Onshore | Grand Total
BE00 | BE | 354.4 | 0 | 8730.598 | 1372.202 | 0 | 158 | 1379 | 549.2 | 10400 | 5800 | 4669 | 33412.4
DE00 | DE | 0 | 17041.903 | 25898.217 | 15054.54 | 0 | 850.934 | 9870.58 | 7570.4 | 96139.648 | 23632.784 | 75371.898 | 271430.904
DKE1 | DK | 1228.023 | 0 | 257.424 | 0 | 0 | 592.525 | 101.824 | 17.936 | 2347.598 | 2707.8 | 818.763 | 8071.893
DKKF | DK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 605 | 0 | 605
DKW1 | DK | 857.293 | 0 | 1066.688 | 0 | 0 | 223.1 | 237.543 | 137.227 | 4119.375 | 3516.9 | 5337.83 | 15495.956
NL00 | NL | 650 | 0 | 10615.265 | 37.7 | 486 | 0 | 3817.46 | 600 | 27263.77 | 11470 | 7976 | 62916.195
NOM1 | NO | 0 | 0 | 0 | 4455.954 | 0 | 0 | 20 | 0 | 74 | 0 | 2254.025 | 6803.979
NON1 | NO | 0 | 0 | 0 | 5292.94 | 0 | 0 | 195 | 0.003 | 0 | 0 | 1368.09 | 6856.033
NOS0 | NO | 0 | 0 | 0 | 23611.787 | 0 | 0 | 50 | 0 | 526 | 200 | 2437.56 | 26825.347
UK00 | UK | 0 | 3391.998 | 18393.868 | 4839.11 | 9327.996 | 70.8 | 7432.654 | 6344.55 | 22790.674 | 34399.605 | 24556.369 | 131547.624
UKNI | UK | 18 | 0 | 1408.001 | 0 | 0 | 389 | 9 | 77 | 617 | 350 | 2034 | 4902.001